The WHO Global Atlas of Medical Devices (GAMD) 2022 organizes medical devices into several broad functional categories to facilitate global monitoring and nomenclature standardization.1 These primary categories include:

- Single-use devices: This group covers high-volume consumables such as syringes and catheters.2

- Implantable devices: Examples include pacemakers, hip prostheses, and artificial heart valves.

- Imaging equipment: This includes diagnostic systems like ultrasound, X-ray, and CT scanners.

- Medical equipment: Defined as devices requiring professional calibration, maintenance, and repair, such as anaesthesia machines, patient monitors, and hemodialysis units.

- Medical software: Both standalone software (Software as a Medical Device) and software embedded in hardware, such as computer-aided diagnostics.

- In vitro diagnostics (IVDs): Reagents and instruments used for testing samples, such as glucometers and HIV test kits.3

- Personal protective equipment (PPE): Safety items including masks, medical gowns, and gloves.4

- Surgical and laboratory instruments: Tools used during clinical procedures or for diagnostic analysis.5

Additionally, the Atlas specifically monitors the global density and availability of eight "high-cost medical equipment" categories:

- Magnetic Resonance Imaging (MRI)

- Computed Tomography (CT) units

- Positron Emission Tomography (PET)

- Mammography units

- Linear Accelerators

- Telecobalt units

- Radiotherapy units

- Gamma cameras or Nuclear medicine systems.6

The WHO also maintains specialized "Priority Medical Device" lists for specific health areas, such as cancer management, cardiovascular diseases, and reproductive health, which are often referenced within the Atlas profiles to assess national procurement and reimbursement policies.7

a